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Shared Services:
· City of Watervliet 
· We borrowed chipper
· City Of Cohoes – in with vac truck MS4 system cleaning
· GIPA underground st light conduit

· Monthly meter reading 9-28 & 29, bills to the Post Office 9-21
· Daily work orders from the billing office; reads, disconnects and reconnects
· Repaired garbage barrels / investigations – various dates 
· Garbage, Recycles, paid pick up  
· September Recycles total 7.07 tons 
· Total to date 31.22 tons
· September Garbage total 85.73 tons
· Total to date 694.86 tons
· Pet waste stations various dates
Buildings;
Seniors;
· Picked up and delivered donated books to the seniors
Village Office / Police Dept / Fire Dept;
· Removed window unit air conditioners
· Ordered new water fountain for Police Dept – will install once delivered 
Court; 
· Removed bricks and rocks from basement
· Covered air conditioning units
Section 8 Building;
· Covered air conditioning units
Town;
· Various tasks 
· Covered air conditioning units
Shop;
· Roadkill various dates 
· Gallivan in; 4 loads of green waste
· Mourning drapes hung on office buildings
· Rabies clinic – put on by Albany County

Grounds;
Streets & Signs; 
· Installed damaged STOP sign at Hudson Ave and Clinton St
· Evolution in ADA ramps done – 
· Repaired multiple catch basin structures and one is scheduled to be replaced – on Swan St
Mowing & Weed Whacking / Leaf Collection;
· Mowing and weed whacking winding down 
· Mowing and weed whacking of vacant properties
· Ventrac with blower – out almost daily for leaves
Snow;
· Plows readied to go 
Big Field;
River Park;
· Refinished D10 and D12
Paine St Park;
· Tree trim various trees – raised canopy up
· Repaired swing – found on one swing – one side to be loose
MS4 / CSO Maintenance;
· Checked / Cleaned catch basins – various dates
· Cohoes in – vac truck 

Substation;
· Meeting with CHA regarding potential expansion projects
· Planned outage for north end – feeder 3 replaced nuts and bolts that were deemed a hot spot during NYPA inspection 
· Fans turned off on regulators and transformers 
· Removed conductor setup for temp T3
Electric Grid; 
· Meter Change outs / install –
· 116 Hudson Ave broken meter cover – no longer readable with handheld
· Meter Checks –
· Monthly Shut Offs –
· Postings done on September 18
· Work orders done on September 24; (30+)
Street Lights;
· D10 and D12 – refinished and reinstalled at River park 
· Cohoes Ave D39 to D48 – removed / refinished / reinstalled all street lights – found conductor and conduit, burnt and melted in various spots – replaced approximately 3000’ of underground conductor from the transformer to D 39; converted from 240v to 120v 
Tree Trimming;
· Cohoes Ave from Veterans Memorial going North – trimmed back and raised tree line – both sides of road – used Watervliet chipper for branches – around street lights and signs


Trouble Calls / Services;
· 100 Bleecker St – complained of flickering lights – found hot leg connector exposed – neutral #6 – replaced triplex and connections on both ends
Vehicle / Equipment Maintenance;
· Old garbage truck – air leak – and right side brake replaced; T & T Towing in for service call 
· New rack truck delivered; old rack taken out of service
